Contractor Bid Form

For Collier County Owner Occupied Rehabilitation Program

Company Submitting Bid:

Homeowner Name:			Anne Gilliam

Address:	4011 Dale Avenue			City & Zip Code: 	Naples, 34112

Phone #: 	239-658-3315				Project #:		15-017R

The work bid form defines the scope of work at this residence to be performed as defined by the COLLIER COUNTY, FLORIDA CONSTRUCTION & REHAB STANDARDS.  Contractors are responsible for securing and paying for any permits required by the County to perform the work outlined in the scope below.  Bids shall be submitted by September 8, 2017, to Dottie Cook at 750 South Fifth Street, Immokalee, FL 34142 or at dottiecook@ruralneighborhoods.org.

| Category | Description | Estimated Cost |
| --- | --- | --- |
| General | Safety & Weatherization Issues - Replace drywall behind washer and dryer to enhance fire protection between garage and home. - Remove power vent from garage ceiling and seal with drywall. - Replace door between garage and house with fire-rated door. - Remove trash from attic. - Blow in new insulation, minimum R-value of 30 in both main house and guest house. - Repair wall damage in master bathroom in main house and in guest house under AC. - Repair and paint ceiling in converted room at rear of house to address water leakage. - Replace exterior garage door knob and lockset. - Garage door opener needs repairs. - Fix safety issue involving the eye beams for the garage doors. |  |
| Plumbing | Plumbing – master bathroom - Replace shower valve control in master shower. - Replace faucet at bathroom sink in master bath. - Replace master toilet and remove blockage. |  |
|  | Total Price |  |

Work to be performed in a workmanlike manner, in accordance with the Standard Rehabilitation Specifications, local codes and manufacturer’s specifications.  The contractor shall be responsible for repairs and/or reinstallations of materials/equipment/fixtures damaged or removed due to any error or omission.  Contractors shall properly dispose of all fixtures, materials and other items removed from the dwelling unless otherwise specified herein.  There must be a quoted price for each line item in the space provided or the bid will be ineligible for consideration.

I hereby certify that I am a licensed contractor and am eligible to participate in the Collier County Owner Occupied Rehabilitation Program.  I will provide copies of my company’s license, liability insurance, and proof of worker’s compensation.  As necessary, I will purchase, install, replace and/or repair and deliver ALL items referenced within this bid document.

Company Name

Company Representative’s

Name (printed)

Representative’s Signature

Mailing Address

Representative’s Phone

Number

Email Address

Date Submitted					  Date Accepted

By my signature, I certify that ____________________ has verified license, liability insurance and proof of worker’s compensation as required by our contract.

Steven Kirk, President					Date