Contractor Bid Form

For Collier County Owner Occupied Rehabilitation Program

Company Submitting Bid:

Homeowner Name:			Annie Thomas

Address:	210 S. Third Street			City & Zip Code: Immokalee, 34142

Phone #: 	239-910-2220				Project #:		15-023R

| Category | Description | Estimated Cost |
| --- | --- | --- |
| Roofing | Replace roof on house. Remove existing roof, underlayment, and damaged sheathing and properly dispose of all roofing debris. Replace underlayment and any damaged sheathing. Repair all fascia and eaves. Replace all flashing. Install new shingle roof system over the underlayment. Use architectural grade, 30-year fiberglass asphalt shingles in accordance with Florida Building Code. Minimum 30 year warranty for each roof. Provide quote per sheet of plywood (or attach price sheet for wood) replacement) – to be replaced as needed | $__________ $________/sh. |
| Electrical | Add GFCI protection for outlets located outside and in the kitchen, laundry, and bath. Repair outlet at south end of house and add waterproof cover for all exterior outlets. Update electrical and electrical panel to meet current codes. Secure electrical masthead on home. Replace four ceiling fans. Install smoke detectors throughout house. Install new light fixtures in bedrooms and bathroom. Add electrical receptacle at vanity in bathroom. Install exhaust fan in bathroom. Repair electrical outlet near range in kitchen | $__________ |
| Plumbing | Install plumbing vent(s). Replace bath and sink plumbing fixtures. Replace tub. Replace toilet. Replace water heater and add discharge pipe. Ensure water heater is in a location protected from the elements. | $__________ |
| General | Install anti-tipping bracket on kitchen range. Remove and replace damaged drywall and baseboards throughout home. Texture and paint to match surrounding area. Remove and replace damaged ceiling drywall throughout house. Replace attic insulation as needed. Texture and paint new drywall to match surrounding area. | $__________ |
| HVAC | Install HVAC and ductwork if practical. If not, provide quote for smaller units. | $__________ |
| Doors | Replace front and back doors and ensure they seal properly. Replace all bedroom and closet doors. | $__________ |
| Windows | Install new impact windows throughout house. | $__________ |
| Cabinets | Install new bathroom cabinet. Install new kitchen cabinets and countertops. | $__________ |
| Flooring | Remove and dispose of existing flooring throughout house. Replace with new vinyl plank flooring. | $__________ |
| Storage | Provide temporary on-site storage container at site. Remove items in house that obstruct work areas and store in temporary container. | $__________ |
|  | Total Price | $__________ |

Work to be performed in a workmanlike manner, in accordance with the Standard Rehabilitation Specifications, local codes and manufacturer’s specifications.  The contractor shall be responsible for repairs and/or reinstallations of materials/equipment/fixtures damaged or removed due to any error or omission.  Contractors shall properly dispose of all fixtures, materials and other items removed from the dwelling unless otherwise specified herein.  There must be a quoted price for each line item in the space provided or the bid will be ineligible for consideration.

Company Name

Company Representative’s

Name (printed)

Representative’s Signature

Mailing Address

Representative’s Phone

Number

Email Address

Date Submitted					  Date Accepted

By my signature, I certify that ____________________ has verified license, liability insurance and proof of worker’s compensation as required by our contract.

Steven Kirk, President					Date

# Text boxes

The work bid form defines the scope of work at this residence to be performed as defined by the COLLIER COUNTY, FLORIDA CONSTRUCTION & REHAB STANDARDS.  Contractors are responsible for securing and paying for any permits required by the County to perform the work outlined in the scope below.  Bids shall be submitted as soon as possible to Dottie Cook at 750 South Fifth Street, Immokalee, FL 34142 or at dottiecook@ruralneighborhoods.org.

I hereby certify that I am a licensed contractor and am eligible to participate in the Collier County Owner Occupied Rehabilitation Program.  I will provide copies of my company’s license, liability insurance, and proof of worker’s compensation.  As necessary, I will purchase, install, replace and/or repair and deliver ALL items referenced within this bid document.