Contractor Bid Form

For Collier County Owner Occupied Rehabilitation Program

Company Submitting Bid:

Homeowner Name:			Jose Etienne

Address: 10306 Kingdom Court		City & Zip Code:   Naples, FL 34114

Phone #: 	239-537-8861		 	 Project #:		16-021R

| Description | Estimated Cost |
| --- | --- |
| Electrical Install globe covers over bare bulbs in lights at rear of house. Tighten/repair light fixture at front door of garage. Ensure electric is supplied to garbage disposal. Install globe cover on ceiling fan in master bedroom. Tighten/re-install loose ceiling fan in guest bedroom. | $____________ |
| HVAC Check AC and determine if it can be repaired or needs replacing. If replacement is needed, specify following information for new unit. Brand__________________ Size _____ tons SEER____________ | $____________ |
| Plumbing Replace tub stopper. Repair or replace sink stoppers. Install new faucets in bathrooms. Install new kitchen sink and faucet. | $____________ |
| General Repairs Apply sealant to gutters to eliminate leaks at front entry. Replace missing downspouts and elbows at 2 locations. Repair soffit vents as needed around house. Replace garage door. Repair water stains in hall ceiling and paint to match surrounding area. Replace door knob at closet door. Repair closet door track in bedroom and install bi-fold doors. Replace stove. | $____________ |
| Cabinets Replace bathroom cabinets and counter in bathrooms. Replace kitchen cabinets and counter. Treat for bug infestation. | $____________ |
| TOTAL | $____________ |

Work to be performed in a workmanlike manner, in accordance with the Standard Rehabilitation Specifications, local codes and manufacturer’s specifications.  The contractor shall be responsible for repairs and/or reinstallations of materials/equipment/fixtures damaged or removed due to any error or omission.  Contractors shall properly dispose of all fixtures, materials and other items removed from the dwelling unless otherwise specified herein.

Company Name

Company Representative (printed)

Representative’s Signature

Mailing Address

Representative’s Phone Number

Email Address

Date Submitted					  Date Accepted

By my signature, I certify that ____________________ has verified license, liability insurance and proof of worker’s compensation as required by our contract.

Steven Kirk, President						Date

# Text boxes

The work bid form defines the scope of work at this residence to be performed as defined by the COLLIER COUNTY, FLORIDA CONSTRUCTION & REHAB STANDARDS.  Contractors are responsible for securing and paying for any permits required by the County to perform the work outlined in the scope below.  Bids shall be submitted as soon as possible to Dottie Cook at 750 South Fifth Street, Immokalee, FL 34142 or at dottiecook@ruralneighborhoods.org.

I hereby certify that I am a licensed contractor and am eligible to participate in the Collier County Owner Occupied Rehabilitation Program.  I will provide copies of my company’s license, liability insurance, and proof of worker’s compensation.  As necessary, I will purchase, install, replace and/or repair and deliver ALL items referenced within this bid document.