Contractor Bid Form

For Collier County Owner Occupied Rehabilitation Program

Company Submitting Bid:

Homeowner Name:			Germaine Nelson

Address: 2671 55th Terrace SW		City & Zip Code:   Naples, FL 34116

Phone #: 	239-595-4369		 	 Project #:		15-050R

| Description | Estimated Cost |
| --- | --- |
| Electrical Replace two light fixtures at front of home. Install internal box face plate at AC service disconnect. Repair doorbell. Install smoke detector in garage bedroom as per code. | $____________ |
| Replace roof on house. Remove existing roof, underlayment, and damaged sheathing and properly dispose of all roofing debris. Replace underlayment and any damaged sheathing. Repair all fascia and eaves. Replace all flashing. Install new shingle roof system over the underlayment. Use architectural grade, 30-year fiberglass asphalt shingles in accordance with Florida Building Code. Minimum 30 year warranty for each roof. Provide quote per sheet of plywood (or attach price sheet for wood) replacement) – to be replaced as needed | $____________ |
| HVAC Replace AC unit. Specify following information for type to be used. Brand__________________ Size _____ tons SEER____________ | $____________ |
| Plumbing Repair tub stopper at master bath tub. Repair toilet in garage guest bath. | $____________ |
| General Repairs Replace front door and frame to address wood rot. Repair opening around window AC unit installed in garage living space. Replace exterior door and frame from garage to address wood rot. Add strike plate on door frame of garage bath. Adjust pocket door to master bath to eliminate scraping as door is opened/closed. Replace guest bath door. Remove and replace drywall in guest bath between toilet and tub. Texture and paint to match surrounding area. Replace kitchen vent. Replace damaged glass in window in guest bedroom. | $____________ |
| Cabinets. Replace cabinets in guest and master bathrooms. Replace all upper and lower cabinets in kitchen. Install new countertop, sink, and fixtures. | $____________ |
| Other Repairs Replace front entry tiles. Repair damaged grout in master and guest bathrooms. Replace bi-fold doors in laundry. Replace screen door and all screens on lanai. | $____________ |
| TOTAL | $____________ |

Work to be performed in a workmanlike manner, in accordance with the Standard Rehabilitation Specifications, local codes and manufacturer’s specifications.  The contractor shall be responsible for repairs and/or reinstallations of materials/equipment/fixtures damaged or removed due to any error or omission.  Contractors shall properly dispose of all fixtures, materials and other items removed from the dwelling unless otherwise specified herein.

Company Name

Company Representative (printed)

Representative’s Signature

Mailing Address

Representative’s Phone Number

Email Address

Date Submitted					  Date Accepted

By my signature, I certify that ____________________ has verified license, liability insurance and proof of worker’s compensation as required by our contract.

Steven Kirk, President						Date

# Text boxes

The work bid form defines the scope of work at this residence to be performed as defined by the COLLIER COUNTY, FLORIDA CONSTRUCTION & REHAB STANDARDS.  Contractors are responsible for securing and paying for any permits required by the County to perform the work outlined in the scope below.  Bids shall be submitted as soon as possible to Dottie Cook at 750 South Fifth Street, Immokalee, FL 34142 or at dottiecook@ruralneighborhoods.org.

I hereby certify that I am a licensed contractor and am eligible to participate in the Collier County Owner Occupied Rehabilitation Program.  I will provide copies of my company’s license, liability insurance, and proof of worker’s compensation.  As necessary, I will purchase, install, replace and/or repair and deliver ALL items referenced within this bid document.