Contractor Bid Form

For Collier County Owner Occupied Rehabilitation Program

Company Submitting Bid:

Homeowner Name:			Viola Preston

Address:	406 11th Street SE	City & Zip Code:   Naples, FL 34142

Phone #: 	239-657-2147		 	 Project #:		16-037R

| Description | Estimated Cost |
| --- | --- |
| Structural Address settling of home and floor joists to stabilize home and flooring throughout. Insulate crawlspace under home. | $____________ |
| Electrical Correct multiple tapped conductors on bus bar in panel box. Repair masthead which is damaged and leaning. Install smoke detectors in bedrooms. Install GFCI receptacles at all outlets near water sources. | $____________ |
| Plumbing Repair hose bib handle at faucet at rear of home. Replace bathroom sink faucet. Replace tub stopper. Replace kitchen faucet and sink. Add handle at main water shut off. Replace hot water heater. | $____________ |
| Exterior Repairs Repair roof damage where electric service mast penetrates roof decking. Replace screen panel and bottom sweep in front screen door. Repair soffits and eaves in the northwest and northeast corners of home. Paint underside of rear porch and soffits. Repair stucco in the following five areas: Replace missing stucco at the front door entry step Repair/re-attach stucco and wood sheathing pulling from front porch wall Stucco area below electric meter box Stucco home-made access panel in rear of home Seal crack in stucco under electric meter box | $____________ |
| Interior Repairs (once home is leveled) Repair corner bead damage at hallway. Repair damaged ceiling drywall. Evaluate bedroom door frames for repairs. Repair drywall in bedrooms. Repair ceiling drywall in bedrooms. Install anti-tipping bracket for oven. | $____________ |
| Cabinets Install new kitchen cabinets. | $____________ |
| Flooring Replace kitchen flooring with vinyl or laminate. | $____________ |
| TOTAL | $____________ |

Work to be performed in a workmanlike manner, in accordance with the Standard Rehabilitation Specifications, local codes and manufacturer’s specifications.  The contractor shall be responsible for repairs and/or reinstallations of materials/equipment/fixtures damaged or removed due to any error or omission.  Contractors shall properly dispose of all fixtures, materials and other items removed from the dwelling unless otherwise specified herein.

Company Name

Company Representative (printed)

Representative’s Signature

Mailing Address

Representative’s Phone Number

Email Address

Date Submitted					  Date Accepted

By my signature, I certify that ____________________ has verified license, liability insurance and proof of worker’s compensation as required by our contract.

Steven Kirk, President						Date

# Text boxes

The work bid form defines the scope of work at this residence to be performed as defined by the COLLIER COUNTY, FLORIDA CONSTRUCTION & REHAB STANDARDS.  Contractors are responsible for securing and paying for any permits required by the County to perform the work outlined in the scope below.  Bids shall be submitted as soon as possible to Dottie Cook at 750 South Fifth Street, Immokalee, FL 34142 or at dottiecook@ruralneighborhoods.org.

I hereby certify that I am a licensed contractor and am eligible to participate in the Collier County Owner Occupied Rehabilitation Program.  I will provide copies of my company’s license, liability insurance, and proof of worker’s compensation.  As necessary, I will purchase, install, replace and/or repair and deliver ALL items referenced within this bid document.